## Slide 1: Metabolomics
Curtis Huttenhower (chuttenh@hsph.harvard.edu)
Eric Franzosa (franzosa@hsph.harvard.edu)
http://huttenhower.sph.harvard.edu/bst281
With slides courtesy of Julian Avila Pacheco

## Slide 2: Summary
Metabolomics
  Nuclear Magnetic Resonance (NMR)
  Mass spectrometry (MS)
  Liquid Chromatography (LC)
  Quality-control procedures
  Metabolite identification
Downstream analyses
  Case study of the IBD microbiome
Databases
Metabolic modeling

## Slide 3: What is metabolomics?
The study of small molecules (metabolites) produced by a biological system
  Small usually defined as <1 kda
  Mass of glucose ~ 0.18 kda
  Mass of heme ~ 0.62 kda
  Mass of hemoglobin alpha ~ 16 kda
Sometimes distinguished from metabonomics
  Includes other molecules in the system, e.g. food
  Term more common in NMR literature

## Slide 4: Why metabolomics is tricky (to me at least)
Only tangentially connected to central dogma
  enzymes (proteins) interconvert metabolites
No direct connection to sequence
  Even proteomics used sequence as a guide
Can’t rely on sequencing biology to help us
  Metabolites don’t self replicate
  Metabolites don’t hybridize to DNA
High-throughput gene-metabolite associations based on correlational analyses

## Slide 5: Metabolomics history
1950
1980
2000
1Thermo Electron Corporation, San Jose, CA (Makarov et al., 2006a,b; Olsen et al., 2005).
1940
TOF MS
1,500 BC
“Ant test”
Testing sweetness in urine with ants
1950
Metabolic
Pattern
1960
Metabolic
Profile
1968
ESI
GC
MS
1974
Fourier
Transform
MS
1981
First
Commercial
Quad
1984
LC
interfaced
with MS
1996
Hybrid
Q-TOF
2005
LTQ
Orbitrap™
1995
ESI
IM
Clemmer et al., 1995 J. Am. Chem. Soc.
1979
Ion Mobility
(IM)

## Slide 6: Metabolomics philosophies
Targeted metabolomics
  Quantifies 10s of well characterized metabolites from a sample
  Provides absolute quantification through comparisons with chemical standards
  “Usual suspects”: central carbon metabolism, amino acids, nucleotides
Untargeted metabolomics
  Attempts to enumerate 1,000s of unique metabolites from a sample
    Only characterizing what you can, and with mixed accuracy
  Usually requires multiple screens targeting different chemistries
  Provides (mostly) relative abundances

## Slide 7: Metabolomics technologies
Nuclear Magnetic Resonance (NMR) spectroscopy
  Uses environment-specific atomic resonance (e.g. 1H) patterns to identify compounds
  Can also be used to work out molecular structures (from coupling)
  Pros: Absolute, reproducible quantification; minimal sample prep; sample unperturbed
  Cons: Low sensitivity (# of molecules, min. abundance); machines very expensive
Mass spectrometry (MS)
  Directly measures mass/charge ratio of a metabolite
  Can also be used to work out molecular structure (from fragmentation pattern)
  Pros: Very sensitive and flexible; can differentiate 1,000s of metaolites
  Cons: Relative quantification only; sample destroyed; complex preps

## Slide 8
Nuclear Magnetic Resonance (NMR) spectroscopy

## Slide 9: Nuclear Magnetic Resonance (NMR) spectroscopy
Certain atomic nuclei have magnetic properties
Line them up with powerful magnetic fields
Apply electromagnetic pulses, causing nuclei to resonate
Resonance produces measurable currents
Resonance frequency is environment specific

## Slide 10: Nuclear Magnetic Resonance (NMR) spectroscopy
Example (1D) 1H NMR spectra for patients with different stages of colorectal cancer
x-axis = resonance frequency (varies by molecule) in normalized units
y-axis = intensity ~ abundance

## Slide 11: Nuclear Magnetic Resonance (NMR) spectroscopy
Example 2D NMR spectrum
x-axis = 1H resonance frequency
y-axis = 13C resonance frequency
z-axis = intensity (not shown)
Similar to a 2D protein gel, the two axes provide extra resolution for distinguishing compounds

## Slide 12: Nuclear Magnetic Resonance (NMR) spectroscopy
Chemical shift (ppm)
Intensity
Each “type” of hydrogen atom produces a group of peaks
Integrated intensity the peaks indicates # of hydrogens
# of peaks corresponds to other hydrogens in their environment
Chemical shift suggests other environmental properties (e.g. shielding by other atoms)

## Slide 13
Mass Spectrometry (MS)

## Slide 14: Mass spectrometry (MS)
Particles in a magnetic field will follow trajectories determined by their mass and charge
Given where a particle impacts a detector, we can work out its mass/charge ratio (m/z)
A second round of MS (MS/MS) targeting molecule’s fragments can also help reveal structural details

## Slide 15: Physical principles underlying mass spectrometry
Source: http://hyperphysics.phy-astr.gsu.edu
Charge and accelerate some particles of interest (here, metabolites)
A velocity selector uses a balance of electrostatic and magnetic forces to isolate particles of a given velocity
Particles enter a new magnetic field and follow curved trajectories (radius r)
Knowing velocity (v) and reading out r, we can determine mass/charge ratio
(written m/q here, a.k.a. m/z)

## Slide 16: Physical principles underlying mass spectrometry
Source: http://hyperphysics.phy-astr.gsu.edu
Rather than allow variable r, which requires a big/complex detector, instead use a point detector and vary the magnetic field strength (B) until particles are detected.

## Slide 17: Chromatography staggers input to MS
Source: https://www.khanacademy.org
We don’t dump a complex mixture into the MS all at once!
Chromatography techniques stagger metabolites according to chemical properties (e.g. size, hydrophobicity)
In liquid chromatography (LC), metabolites exit column after increasing retention time
Studies may use multiple columns with increasing retention of non-polar compounds (HILIC, C8, C18)
Paper chromatography
Liquid chromatography

## Slide 18: LC-MS raw data
Raw data are 3D “points” ideally corresponding to individual metabolites
Dim 1: m/z (da)
  Fundamental physical quantity
Dim 2: retention time (min, s)
  Varies by column, lab, day
Dim 3: intensity
  Volume under the peak is proportional to abundance

## Slide 19: LC-MS/MS (-MS2) raw data
If a second round of MS is performed, individual peaks from the first round are associated with additional measurements
Specifically, m/z ratios and intensity values for metabolite breakdown products
Provides more resolution to (e.g.) distinguish between isomers with the same m/z and very similar retention times

## Slide 20: Quality control
Spike chemical standards into biosamples
  Aids with calibration, normalization, abundance estimation
Periodically profile a reference sample (or pooling of biosamples)
  Adjust for batch/run effects
Compare with dilution series of reference/pooling
  Weed out unreliable molecules/establish detection limits

## Slide 21: Quality control
Abundance
phenylalanine-d8
Sample number (in injection order)
Sample number (in injection order)
Abundance
phenylalanine-d8
phenylalanine-d8
Spiked-in metabolite should have the same abundance in all measurements of the pooled sample
Nearest-neighbor normalization reduces technical variance

## Slide 22: Metabolite identification
Work out m/z and potential formulas for parent compound
Match against metabolite databases (e.g. HMDB, Metlin)
  Likely to be lots of hits
Match against compound libraries
  Internal RT values, known/theoretical MS2 fragmentation
RT Match
MS/MS Match

## Slide 23: Metabolite identification
A formula alone can be very ambiguous (even worse if allowing ±1 da)

## Slide 24: Metabolite identification
Analyze cross-sample covariation
  Identify groups of related metabolites (similar to co-expression)
  Transfer annotations from known to unknown metabolites (guilt-by-association)
Brown, et al (2011) Bioinformatics 27: 1108−1112
m.z | RT | Metabolite
162.076 | 7.4 | 2-aminoadipate [M+H]+
206.0399 | 7.39 | 2-aminoadipate [M+2Na-H]+
228.0218 | 7.39 | 2-aminoadipate [M+3Na-2H]+
184.058 | 7.4 | 2-aminoadipate [M+Na]+
296.0092 | 7.39 | 2-aminoadipate [Unknwon Adduct]+
144.0656 | 7.4 | 2-aminoadipate [Fragment]+
Sample number
[M-H2O+H]+
Unknown
[M+2Na-H]+
[M+3Na-2H]+
162.076mz
228.0218mz
[M+H]+
206.0399mz
184.058 mz
296.0092mz
144.065mz
[M+Na]+
Radius = average integrated abundance
Pearson cor = 0.9
Abundance
  Parent ion
  + isotopes
  + adducts
  + common fragments
  (all in same RT group)

## Slide 25: Metabolite identification
Analyze networks of similar fragmentation spectra (MS/MS only)
  “Molecular Networking” by Pieter C. Dorrestein
Transfer knowledge from knowns to unknowns (more guilt-by-association)

## Slide 26
Downstream Analyses
Example from my work

## Slide 27: What to do with your sample-by-metabolite table?
Quality control
  Normalization, outlier removal
Supervised analyses
  Phenotype association/prediction
  Enrichment analyses
Unsupervised analyses
  Clustering samples
  Clustering metabolites
Data integration
  Associating metabolites with other ‘omics measurements
  Do characterized metabolites associate with uncharacterized genes?
  Do uncharacterized metabolites associate with characterized genes?
A common starting point in genomic data analysis:
A table of n samples (columns) and m features (rows; m ≫ n)
+ sample metadata
+ feature metadata

## Slide 28: The gut metabolome as a host-microbiome interface
Adapted from Won-Jae Lee & Koji Hase, Nature Chemical Biology 10, 416–424 (2014)
Dietary compounds may directly promote/hinder the growth of certain microbes
Microbes produce compounds with pro- and anti-inflammatory effects
Most of what we know comes from targeted metabolomic surveys
Potentially many microbially-derived, uncharacterized metabolites remain to be found

## Slide 29: Profiling metabolomes & metagenomes of the IBD gut
Metagenomes QC’ed by kneadData and profiled by MetaPhlAn2 + HUMAnN2
~8K measured metabolites from four untargeted metabolomics methods (different LC columns, polarity modes)
~50% had m/z matches to HMDB (we focus on their molecular subclass only, e.g. this looks like a bile acid)
~5% had m/z + RT matches to an in-house compound library (any named compounds are in this subset, e.g. this is cholate)

## Slide 30: Broad ‘omics shifts correlate with host inflammation
Dominated by CD/control separation (UC is heterogeneous)
The two PCo1s were strongly correlated (rs=0.66, p<10-20)
PCo1s anti-correlate with Shannon diversity
(rs=-0.32 and -0.57)
PCo1s correlate with gut inflammation
(rs=0.49 and 0.44)

## Slide 31: Finding differentially abundant (DA) features in IBD
Model (same for all features, sum-normalized within method):
Isolate features where diagnosis:CD or diagnosis:UC coefficient had Benjamini-Hochberg (FDR) q<0.05
Save model residuals for downstream applications
Metagenomic trends (species + enzymes) consistent with previous findings
  We’ll come back to these later…
Many, many DA metabolites (~2.7K of 8K)
  Used “GSEA” and clustering on residuals to simplify interpretation
log( feature + ϵ ) ~ diagnosis + age + abx + mesalamine + immunosuppressants + steroids

## Slide 32: Metabolite set enrichment analysis on model results
Same idea as GSEA (Subramanian 2005): find a metabolite set (HMDB subclass) whose members’ model coefficients were distributed “unusually” among all such coefficients
(Wilcoxon test as conservative definition of “unusual”)

## Slide 33: Metabolite set enrichment analysis on model results
Sphingolipids, bile acids up
Fatty acid subclasses down
UC trends are a weakened subset of CD trends

## Slide 34: Finding clusters of co-varying, DA metabolites
Model
residuals
Samples (n=155)
DA metabolites (n=2,729)
Cluster DA metabolites based on residual abundance (Spearman as similarity measure)
“Cut” hierarchy to define clusters with mean similarity rs = 0.7 (strongly correlated)
Cluster members are physicochemically similar:
   2.7x more similar retention times
   3.0x more similar mass/charge ratios
   15x more likely to be in same HMDB subclass

## Slide 35: The largest IBD-enriched cluster (mostly bile acids)
Here, 39 bile-acid related metabolites co-vary strongly across samples
All are elevated in CD
Note substructure among UC patients, coinciding with high/low fecal calprotectin

## Slide 36: The largest control-enriched cluster (mostly unknown)
This cluster (enriched in control subjects) contains no standard metabolites
Could be enriched for uncharacterized microbially derived metabolites
Speculation: Lots of tetrapyrrole derivatives here. Vitamin B12 is a tetrapyrrole compound (but too big to be seen by these MS methods).
B12-producing bugs are depleted in IBD.

## Slide 37: Metagenomic trends mostly follow previous findings
50 DA species, of which 35 were up in controls (reflects general loss of diversity in IBD)
DA enzymes reflect community-level responses to a more aerobic environment in IBD (e.g. response to ox. stress)
We focused on associating DA metagenomic features with DA metabolites!

## Slide 38: Robust associations between metabolites & microbes
Controls
Cases
Metabolite X
Species Y
Res( Metabolite X )
Res( Species Y )
Controls
Cases
Metabolite X
Species Y
Res( Metabolite X )
Res( Species Y )
X and Y correlate incidentally due to mutual correlation with disease
Using a linear model to subtract disease effects, the X:Y correlation vanishes
Here, X and Y’s residuals correlate, suggesting that the X:Y correlation is not driven by disease

## Slide 39: Robust associations between metabolites & microbes
log10(PPM) units

## Slide 40: From associations to in vitro growth effects
log10(PPM) units
Nadine
Fornelos
Test putative bug:metabolite relationships in culture
Look for changes in growth rate + carrying capacity
Some associations are confirmed in vitro!
Others not quite as convincing…

## Slide 41: Random forest prediction of IBD status
Metabolites predict IBD status well (AUC>0.9)
Predictor generalizes to new samples
Species also perform well, despite drawing on far fewer features
No marked boost in accuracy from combining metabolites and species

## Slide 42: Random forest prediction of IBD type: CD vs. UC
Non-IBD controls rarely classified as IBD:CD or IBD:UC
IBD:CD rarely classified as Non-IBD control, but sometimes as UC
IBD:UC hard to get right

## Slide 43: Summary of IBD metabolome application
Metabolomes broadly stratified by subject inflammation level
Many molecular classes are differentially abundant in IBD
Some classes (clusters) are well understood, while others are largely uncharacterized
Putatively mechanistic microbe-metabolite associations
Metabolites and microbes can classify IBD status reasonably well, though subtype is harder
Microbial functional adaptations to the IBD gut agree with earlier work

## Slide 44
Databases

## Slide 45: Metabolite/metabolomics databases
METLIN
“The original and most comprehensive MS/MS database”
https://metlin.scripps.edu
HMDB
The human metabolome database
http://www.hmdb.ca/

## Slide 46: Metabolism databases
MetaCyc
https://metacyc.org/
KEGG
https://www.genome.jp/kegg/
Associate metabolites with enzymes, enzymes with pathways, enzymes with genes, genes with species…

## Slide 47
Metabolic modeling

## Slide 48: Static/steady-state models of metabolism
Source: Beguerisse-Díaz et al., npj Systems Biology and Applications (2018)

## Slide 49: Dynamic/kinetic models of metabolism
Source: Ramon et al. Essays in Biochemistry (2018)

## Slide 50: Summary
Metabolomics
  Nuclear Magnetic Resonance (NMR)
  Mass spectrometry (MS)
  Liquid Chromatography (LC)
  Quality-control procedures
  Metabolite identification
Downstream analyses
  Case study of the IBD microbiome
Databases
Metabolic modeling

## Slide 51
https://fold.it/portal/

## Slide 52
Extras

## Slide 53
Canvas question time
Ask me for the passcode